## Wellington
Record of water use restrictions
Wellington metropolitan area
Prior to 2007/08 there hadn't been a sprinkler or irrigation system ban since 1985.
Note: Level 1 (BAU - odds/evens) restrictions come into effect automatically during the daylight savings period each year.
Start | End | Level | FY ending | Duration | Comment
2008-02-26 | 2008-04-09 | 2 | 2008 | 43
2013-03-09 | 2013-03-16 | 2 | 2013 | 7 | Second year of lake remedial work
2013-03-16 | 2013-04-09 | 3 | 2013 | 24 | Second year of lake remedial work, Kaitoke 400L/s consent utilised, WCC elected to turn off turf irrigation
2015-03-07 | 2015-04-07 | 2 | 2015 | 31
2017-11-30 | 2018-02-09 | 2 | 2018 | 71
2020-02-14 | 2020-03-31 | 2 | 2020 | 46 | Initially ban reduced demand by around 10ML/d, rain on 17 and 18 Feb brought down demand by a further 10ML/d, rain and Covid-19 lockdown from 25 March saw demand drop significantly
2021-02-13 | 2021-04-13 | 2 | 2021 | 59
2022-01-22 | 2022-03-04 | 2 | 2022 | 41 | Very heavy rain in middle of summer including ex-tropical cyclone Dovi around 13 Feb 2022
Daylight savings periods for Level 1 (odds/evens restrictions)
https://www.timeanddate.com/time/change/new-zealand/wellington?year=2021 | [5 empty] | Year | Restriction days | Restriction days (5 year rolling ave)
[6 empty] | 1985 | 0
Start | End |  |  |  |  | 1986 | 0
2005-10-02 | 2006-03-19 |  |  |  |  | 1987 | 0
2006-10-01 | 2007-03-18 |  |  |  |  | 1988 | 0
2007-09-30 | 2008-04-06 |  |  |  |  | 1989 | 0 | 0
2008-09-28 | 2009-04-05 |  |  |  |  | 1990 | 0 | 0
2009-09-27 | 2010-04-04 |  |  |  |  | 1991 | 0 | 0
2010-09-26 | 2011-04-03 |  |  |  |  | 1992 | 0 | 0
2011-09-25 | 2012-04-01 |  |  |  |  | 1993 | 0 | 0
2012-09-30 | 2013-04-07 |  |  |  |  | 1994 | 0 | 0
2013-09-29 | 2014-04-06 |  |  |  |  | 1995 | 0 | 0
2014-09-28 | 2015-04-05 |  |  |  |  | 1996 | 0 | 0
2015-09-27 | 2016-04-03 |  |  |  |  | 1997 | 0 | 0
2016-09-25 | 2017-04-02 |  |  |  |  | 1998 | 0 | 0
2017-09-24 | 2018-04-01 |  |  |  |  | 1999 | 0 | 0
2018-09-30 | 2019-04-07 |  |  |  |  | 2000 | 0 | 0
2019-09-29 | 2020-04-05 |  |  |  |  | 2001 | 0 | 0
2020-09-27 | 2021-04-04 |  |  |  |  | 2002 | 0 | 0
2021-09-26 | 2022-04-03 |  |  |  |  | 2003 | 0 | 0
2022-09-25 | 2023-04-02 |  |  |  |  | 2004 | 0 | 0
2023-09-24 | 2024-04-07 |  |  |  |  | 2005 | 0 | 0
2024-09-29 | 2025-04-06 |  |  |  |  | 2006 | 0 | 0
2025-09-28 | 2026-04-05 |  |  |  |  | 2007 | 0 | 0
[6 empty] | 2008 | 43 | 8.6
[6 empty] | 2009 | 0 | 8.6
[6 empty] | 2010 | 0 | 8.6
[6 empty] | 2011 | 0 | 8.6
[6 empty] | 2012 | 0 | 8.6
[6 empty] | 2013 | 31 | 6.2
[6 empty] | 2014 | 0 | 6.2
[6 empty] | 2015 | 31 | 12.4
[6 empty] | 2016 | 0 | 12.4
[6 empty] | 2017 | 0 | 12.4
[6 empty] | 2018 | 71 | 20.4
[6 empty] | 2019 | 0 | 20.4
[6 empty] | 2020 | 46 | 23.4
[6 empty] | 2021 | 59 | 35.2
[6 empty] | 2022 | 41 | 43.4
2023
2024
2025

## SWDC
Record of water use restrictions
South Wairarapa District Council
Note: Level 1 (BAU - odds/evens) restrictions are in effect throughout the year (refer https://swdc.govt.nz/community/water-restrictions/).
Start | End | Level | FY ending | Duration | Comment
2022-01-22 | 2022-03-04 | 2 | 2022 | 41 | Very heavy rain in middle of summer
[6 empty] | Year | Restriction days | Restriction days (5 year rolling ave)
[6 empty] | 1985 | 0
[6 empty] | 1986 | 0
[6 empty] | 1987 | 0
[6 empty] | 1988 | 0
[6 empty] | 1989 | 0 | 0
[6 empty] | 1990 | 0 | 0
[6 empty] | 1991 | 0 | 0
[6 empty] | 1992 | 0 | 0
[6 empty] | 1993 | 0 | 0
[6 empty] | 1994 | 0 | 0
[6 empty] | 1995 | 0 | 0
[6 empty] | 1996 | 0 | 0
[6 empty] | 1997 | 0 | 0
[6 empty] | 1998 | 0 | 0
[6 empty] | 1999 | 0 | 0
[6 empty] | 2000 | 0 | 0
[6 empty] | 2001 | 0 | 0
[6 empty] | 2002 | 0 | 0
[6 empty] | 2003 | 0 | 0
[6 empty] | 2004 | 0 | 0
[6 empty] | 2005 | 0 | 0
[6 empty] | 2006 | 0 | 0
[6 empty] | 2007 | 0 | 0
[6 empty] | 2008 | 0 | 0
[6 empty] | 2009 | 0 | 0
[6 empty] | 2010 | 0 | 0
[6 empty] | 2011 | 0 | 0
[6 empty] | 2012 | 0 | 0
[6 empty] | 2013 | 0 | 0
[6 empty] | 2014 | 0 | 0
[6 empty] | 2015 | 0 | 0
[6 empty] | 2016 | 0 | 0
[6 empty] | 2017 | 0 | 0
[6 empty] | 2018 | 0 | 0
[6 empty] | 2019 | 0 | 0
[6 empty] | 2020 | 0 | 0
[6 empty] | 2021 | 0 | 0
[6 empty] | 2022 | 41 | 8.2
2023
2024
2025