## Slide 1
Update – February 2024
Current status: Non-compliant
Commentary:
The plant remains non-compliant for faecal coliforms (90-day, 80th percentile limit) since 30 September. Improvements to the biological process and mechanical issues in the UV systems are being addressed to return the plant back to compliance as soon as possible.
Discharges:
No discharges in February.
Odour complaints:
The plant received 41 odour complaints in February.
Items of significance:
Odour Treatment prioritisation
Hutt City Council has requested the project team urgently revise plans to support fast track delivery for the odour improvement works needed at the plant. Cost estimates and Project Management Plans are currently being prepared for the proposed renewals and upgrades.
Community Liaison Group (CLG) Meeting
The annual CGL is scheduled for 21 March and will cover plant performance and consent compliance for the last financial year. It will also incorporate current performance and an update on the odour management project.
Seaview Wastewater Treatment Plant performance

## Slide 2
Update – February 2024
What has been completed:
The odour control system assessment report has been completed with several recommendations made.
Replacement of Biofilter material is complete.
Leak repair and cleaning of foul air ducting has been undertaken.
A project brief for the renewal of the odour control system of the site has also been completed, incorporating the recommended actions from the investigation reports.
The project has been assigned to Wellington Water’s Major Projects Team to manage.
What is currently in progress:
A further report into the effectiveness of the media replacement has been commissioned.
Replacement of air distribution structures of the biofilter is being planned for the winter months of 2024.
Project planning is underway with a Project Management Plan (PMP) expected in March outlining timeframes for the upgrades.
The odour scouting programme within and around the plant began in December and continues and is acquiring valuable data to assist with future odour treatment modelling.
Seaview Wastewater Treatment Plant performance – Odour Treatment